## Cover Page
CONSTRUCTION OF BOUNDARY WALL AND
CLEARVU SECURITY FENCING ON PLOT
No. Chong/Ln_73638/3
UNPRICED BILL OF QUANTITIES
Revision No. 1
2022-10-01

## Perimeter Fencing Installations
BILL OF QUANTITIES
ITEM | DESCRIPTION | UNIT | QTY | RATE | AMOUNT(K)
Preliminary & General Items
a | Allow for the preliminaries and general items to cover for the contractors mobilization and demobilization of its workmen, materials, equipment, etc to and from site | Item | 1 |  | 0
| Total P & Gs carried to summary |  |  |  | 0
Perimeter Fencing
Site Clearance
b | Clear site bushes, shrubs, undergrowth etc and grub up roots including cutting down trees not exceeding 600 mm girth and cart away to an environmentally friendly dumping site. | m2 | 4152.42 |  | 0
Oversite Excavation
c | Excavate to remove top soil and load, wheel and deposit where directed on site, average depth 150mm | m2 | 4152.42 |  | 0
Bulk Excavations
d | Excavate oversite to reduce levels and stock pile as directed on site | m2 | 1384.14 |  | 0
EXCAVATIONS.
Excavation including maintaining and supporting sides and keeping excavations free from water, mud and fallen materials
e | Excavate trenches for foundation comencing at formation level, depth exceeding 1.5m deep | m3 | 1245.73 |  | 0
f | Excavate Pits for foundation bases commencing at original ground level/or formation level depth exceeding 1.5m deep | m3 | 692.07 |  | 0
Extra on all excavations.
g | Extra over excavation in pickable material for excavation in soft rock. | m3 | 550 |  | 0
h | Ditto for excavation in hard rock. | m3 | 600 |  | 0
| Balance Carried Forward |  |  |  | 0
ITEM | DESCRIPTION | UNIT | QTY | RATE | AMOUNT(K)
| Balance Brought Forward |  |  |  | 0
Backfilling around foundation excavations
a | Redig suitable material fill and compact around foundations, to 93% MOD ASHTOO in layers of 150mm | m3 | 934.31 |  | 0
Planking and Strutting
b | Allow for maintaining and support sides of all excavations and making good all slips. | Item | 1 |  | 0
Keeping Excavations free from Water
c | Allow for keeping the excavations free from storm, surface water and mud by pumping and baling. | Item | 1 |  | 0
d | Pumping subterranean water using a pump or pumps of exceeding 300 litres per hour capacity from a depth of not exceeding | Item | 1 |  | 0
5 metres.
Preparation of existing ground to make up levels
e | Scarify and compact existing reduced ground level to minimum 93% MODASHTOO including all necessary watering as per engineers specification | m2 | 4152.42 |  | 0
Filling to make up levels
f | Redig from spoil heap, return, fill and compact selected excavated material around foundations, to 93% H.C.E density. | m3 | 630 |  | 0
0
g | Redig from spoil heap and remove off-site. | m3 | 373 |  | 0
0
| Total Excavations and Eartheworks Carried to Summary |  |  |  | 0
ITEM | DESCRIPTION | UNIT | QTY | RATE | AMOUNT(K)
Concrete Works
15 Mpa Plain concrete
h | Blinding under foundations and column bases, thickness
| 50 mm | m2 | 346 |  | 0
Vibrated reinforced concrete Mix 30MN/m2
i | Strip foundations, 500mm wise x 150mm thick | m3 | 685 |  | 0
j | Column bases, 600mm x 600mm x 200mm deep | m3 | 69.2 |  | 0
k | Column 400mm x 400mm x 2400mm high x 350No. | m3 | 155 |  | 0
Sawn formwork as described to
l | Sides of strip foundations | m2 | 218 |  | 0
m | Column stubs | m2 | 1250 |  | 0
| Total Concrete Works Carried to Summary |  |  |  | 0
ITEM | DESCRIPTION | UNIT | QTY | RATE | AMOUNT(K)
BlockWork
a | Solid Cavity concrete block B.S.2028 walling in cement mortar (1:4)filled with 15Mpa concrete in blocks and cavities
Walling thickness,
b | . 150 mm | m2 | 1330.02 |  | 0
Hollow concrete block B.S.2028 in cement mortar (1:4)
Walling, thickness
c | . 150 mm | m2 | 2329.9 |  | 0
26 Gauge mild steel "brickforce" reinforcement laid horizontally in mortar joint every second course
To walling, thickness
d | . 150 mm | m | 4675 |  | 0
Plinths & Wall finishes
e | 12 mm Thick cement and sand (1:4) render to plinths | m2 | 7327.86 |  | 0
TESTING
f | Allow for carrying out compaction tests to compacted surfaces to engineer's approval | Item | 1 |  | 0
g | Allow for carrying out concrete cube tests in 3no. per test to engineer's approval and satisfaction | Item | 1 |  | 0
| Total Blockwork Carried to Summary |  |  |  | 0
CLEAR VU PERIMETER FENCING
Clear Vu Perimeter Fencing Installations to Manufacturers Specifications - Cochrane Africa as approved by the architect
Preambles
1. Description of Fence System
A. Post:
Post shall be 2.4m long Cochrane Taper Locking Post.Post width shall
be 85mm - tapering to 45mm with a depth of 85mm.Post shall include
Locking Recess Mechanism’to secure panel edge.Post finish shall be
Galvanized then Poly Coated.Post foundations shall be 60mm x 400mm² 15Mpa concrete.
ITEM | DESCRIPTION | UNIT | QTY | RATE | AMOUNT(K)
B. Panel:
Panel shall be of 3,305m width and 1.8m in height.
Panel aperture size (centres) shall be 76.2mm x 25mm.(Parkland Mesh type)
The panel shall be reinforced with 4 x 50mm deep 'V' formation horizontal recessed brands (rigidity)
Panel shall have 2 x 70° flanges along sides (internal
fixtures - all fixtures shall be on the inside of fence line)
Panel shall have 2 x 30° flanges along top and toe (integrated rigid angle).
Panel post shall have a flush panel post finish with no climbing aid.
Panel shall be affixed to post over 48 line wires using 8 x Double bolt comb clamps using 24 x anti vandal bolt and 8 x Single bolt comb clamps using 24 x Anti vandal bolts.
Panel and fixtures shall be Galvanized.
h | Supply, deliver and install Clear Vu fence as per manufacturers installation instructions complete with all necessary excavations concreting and backfilling as required to the approval and satisfaction of the architect | m | 450 |  | 0
0
i | 100mm high toughed steel castle spike affixed to panel edge, internally at 150mmm interval using Anti-vandal bolts, galvanised then poly metic 6000 coated | m | 900 |  | 0
j | Supply, deliver and install electronically/or manually controlled sliding gates complete with all accessories to make it work as specified by the architect/project Manager overall size 5000mm Wide x 2000mm High, exact position to be comfirmed on Site by Architect or Project Manager | No | 3 |  | 0
0
k | 3000mm High Taper locking Post, galvinised and polymetic 6000 Coated as described spaced at 3400mm centre to centre | No | 130 |  | 0
ITEM | DESCRIPTION | UNIT | QTY | RATE | AMOUNT(K)
Gate Posts
l | 80x80x10mm thick heaavy duty mild steel square tube as main gate posts in concrete with 80 x 80 main stays, primed with red oxide and 2 coats of silver paint | m | 10 |  | 0
Electric Fencing
m | Supply and installation of electric security wire with all accessories above the blockwork and clearvu (Min. of 4 lines or 0.5m high) with adequate support | m | 980
Razor Wire
n | Supply and installation of anti-theft (spiked) coiled razor wire anchored on support above the blockwork and clearvu (Min. of 4 lines or 0.5m high) with adequate support | m | 980
Sign Post
o | Supply and installation of sign posts measuring 2.5m x 1.5m supported by 80x80x10mm thick heavy duty mild steel square tubes anchored in concrete. The post are to be primed with red oxide and 2 coats of silver paint. Sign post to have stick-on vynil prints measuring 2.5m x 1.5m with encryptions to be advised by Architect | No. | 2
| Total Clearview Perimeter Fencing Carried to Summary |  |  |  | 0
ITEM | DESCRIPTION | UNIT | QTY | RATE | AMOUNT(K)
PRIME COST AND PROVISIONAL SUMS
NOTES
The following Provisional and Prime Cost Sums are provided for work and items which can not entirely be established, measured, defined or detailed. The contractor should only insert a percentage in the rates column for his profit and attendance on the prime cost sums; the quantity and details shall be established at a later stage
ACESS ROAD, GUARD HOUSES& TEMPORAL POWER
i | Provide for grading of access roads a prime sum of Zambian Kwacha One Hundred Thousand Only | Item | 1 |  | 0
a | Allow for Main Contractor's Profit | Item |  |  | 0
b | Allow for general and special attendance | Item |  |  | 0
ii | Provide for construction of 3No. Guard houses (en-suite)as per drawing to be provided by the Architect a prime sum of Zambia Kwacha Three Hundred Thousand Only | Item | 1 |  | 0
a | Allow for Main Contractor's Profit | Item |  |  | 0
b | Allow for general and special attendance | Item |  |  | 0
iii | Provide for construction of a Temporal Power Line and installation of a Standard 11/0.4KV Step-down Transformer (100KVA)a prime sum of Zambia Kwacha Three Hundred and Fifty Thousand Only | Item | 1 |  | 0
a | Allow for Main Contractor's Profit | Item |  |  | 0
b | Allow for general and special attendance | Item |  |  | 0
| Total Provisional Sums Carried to Summary |  |  |  | 0
ITEM | DESCRIPTION | UNIT | QTY | RATE | AMOUNT(K)
Main Summary
a | Total P & Gs Brought to summary |  |  |  | 0
b | Total Excavations and Earthworks Brought to Summary |  |  |  | 0
c | Total Concrete Works Brought to Summary |  |  |  | 0
d | Total Blockwork Brought to Summary |  |  |  | 0
e | Total Clearview Perimeter Fencing Brought to Summary |  |  |  | 0
f | Total Provisional Sums Carried to Summary |  |  |  | 0
| Sub-total 1 |  |  |  | 0
| Add Contigency @ 10% |  |  |  | 0
| Sub-total 2 |  |  |  | 0
| Add VAT @ 16% |  |  |  | 0
| Total Cost |  |  |  | 0